# Commercial Background for Opportunity

## Customer/Project Information

| Customer Name: |  |
| --- | --- |
| Parent Company Affiliations: |  |
| Market Segment: |  | If Other, specify: |
| Instrument Type: | . | If Other, specify: |

Provide a brief summary of the project:

New Product? VAVE (Quality or Cost?)

| Enter quantity by year | Year 1 | Year 2 | Year 3 | Year 4 |
| --- | --- | --- | --- | --- |
| Estimated Annual Pump Qty |  |  |  |  |

| Enter expected price by volume (as much as is available) | 50 | 100 | 500 | 1000 |
| --- | --- | --- | --- | --- |
| Customer Target Price (USD) |  |  |  |  |

## Competitive Information

| Current Supplier Name: |  |
| --- | --- |
| Supplier Product Name/Type/Number: |  |
| Supplier Positive Attributes: |  |
| Supplier Negative Attributes: |  |

## Preventative Maintenance Cycle

|  | Interval (Time period in number) | Frequency |
| --- | --- | --- |
| Valve |  | Choose an item. |
| Syringe |  | Choose an item. |

# Application Background for Opportunity

Please fill out the following general application requirements making sure to include units of measure.  (Attached additional details when available.)

- If known and applicable, please provide the part#/series most closely representing what is required? →

- Is a valve option needed on this pump (solenoid, rotary, through block)? →

- If Rotary Valve – does the customer know the number of fluids (ports) needed? →

- Does the customer want the intelligence/control to be provided, or will the customer be providing their own controls? →

- What is the pump volume (syringe volume) needed? →

- What are the pressures associated with the application? →

- List ambient temperature of the application →

- List temperature ranges of fluid/media in the application →

- Is the environment corrosive in nature? →

- Are there any electronic/mechanical standards or guidelines that require conformance? →

If so, please detail those applicable guidelines or standards:

→

- Are any of the fluids in the application highly viscous? →

- What is the known viscosity? →

- List the desired flow rates or dispense volumes needed? →

- Is there need in the application to achieve extremely small flows through a pause/dispense feature? →

- Is there a requirement on number of dispenses per full volume? →

- What are the accuracy requirements of the volume dispense/flow? →

- Are there concerns with dead volume or carryover in your application? →

- What are the resolution requirements? →

- Is there a sterilization process? →      Please describe below:

→

- Is there a “wash down” process? →       Please describe below:

→

Please use the space provided to elaborate on project details or sketch the fluidic path.

## Standard NX Pump Configuration (OPTIONAL)

| Pump Size Choose an item. | Pump Level Choose an item. | Resolution Choose an item. | Valve Choose an item. | Syringe Choose an item. |
| --- | --- | --- | --- | --- |
|  |  |  | Type Choose an item. | Volume Choose an item. |
|  |  |  | Ports Choose an item. | Tip Choose an item. |
|  |  |  | Material Choose an item. | Material Choose an item. |

| What features does the customer value? Tick all that apply |
| --- |
| ☐Smaller footprint | ☐Reduced noise | ☐Improved speed range |
| ☐Intelligence | ☐Customization | ☐Valve Options |
| ☐Improved accuracy & precision | ☐Added CAN protocols | ☐Auto-calibration |